## Slide 1
Landmark Localization in 3D Cephalometry using Deep Learning
Xiaoyang WEI
Institut de Biomécanique Humaine Georges Charpak
Supervisors: Laurent Gajny, Gauthier Dot, Thomas Schouman , Philippe Rouch

## Slide 2
1.Clinical Background

## Slide 3
Skull anatomy
[1] “7.2skull-anatomyandphysiology.” Accessed June 11, 2020. https://opentextbc.ca/ [2]“Frankfurt plane baidu baike”Accessed June 11, 2020. https://baike.baidu.com/.
Frankfurt horizontal plane (FH) used clinically to assist in head positioning.
Orbital left
Porion left/right

## Slide 4
Cephalometry
What is cephalometry?
The study and measurement of the skull including different landmarks and several angles.
Why we need that?
In clinical contexts, quantified landmarks and angles measures the deformity of patients and helps diagnosis for orthodontists and maxillofacial surgeons
[3] “orthodontie de l'enfant et du jeune adulte -tome 2.” Accessed June 15, 2020. https://www.elsevier-masson.fr/ [4] “Orthognathic surgery.” In Wikipedia, February 29, 2020. https://en.wikipedia.org/

## Slide 5
Medical imaging for cephalometry
2D imaging: Lateral cephalogram
Drawback: prone to superimposition of bilateral structure
[5] “Discovery CT750 HD | GE Healthcare.” Accessed June 11, 2020. https://www.gehealthcare.com/courses/discovery-ct750-hd.
[6] “Dental CBCT Scanner - All Medical Device Manufacturers - Videos.” Accessed June 11, 2020. https://www.medicalexpo.com/medical-manufacturer/dental-cbct-scanner-28330.html.
3D imaging: CT/ CBCT
Drawback: high radiation/ no calibration

## Slide 6
Landmarks

## Slide 7
Why do we need an automated method ?
Manual landmarking requires time and a high level of expertise.
  It takes up to 14 minutes to place 22 landmarks[7]
Therefore, the main goal is to help doctors free from tedious annotation, making diagnosis more efficient
[7]Hassam et al,. 2013 https://doi.org/10.1093/ejo/cjr050.

## Slide 8
Recent studies
Author | Year | Category | Number of landmarks | Overall Mean Error (Euclidean Distance)/mm
Neelapu et al | 2018 | Knowledge-based (symmetrical feature) | 20 | 1.88±1.10
Codari et al | 2017 | Atlas-based (K means clustering) | 21 | 2.39±1.73
O’Neil et al | 2018 | Learning-based (DF+HOG&FCN) | 22 | Observer A: 2.45 ± 2.53 Observer B: 3.49 ± 2.88
Zhang et al | 2017 | Learning-based (FCN) | 15 | 1.10
Torosdagli et al | 2019 | Learning-based (FCN & LSTM) | 9 | <1.0 (7 out of 9 landmarks)

## Slide 9
Deep learning-based methods
Zhang et al., 2017: Joint Craniomaxillofacial Bone Segmentation and Landmark Digitization by Context-Guided Fully Convolutional Networks
Dataset: 77 CBCT-scans with 5-fold cross validation
Distance error: 1.1mm(15 landmarks)

## Slide 10
Dataset: 50 CBCT-scans with 5-fold cross validation
Distance error: <1mm(7 out of 9 landmarks)
Deep learning-based methods
Torosdagli et al., 2019: Deep Geodesic Learning for Segmentation and
Anatomical Landmarking

## Slide 11
2.Materials & Methods

## Slide 12
Size: 200 subjects - 35 were selected for the presented experiment.
Slice: 512*512 pixels with pixel size range from 0.32 to 0.63mm.
Slice increment: 0.31mm or 0.5mm
Number of Landmarks: 33 - 6 selected for the presented experiment.
Our cephalometry database

## Slide 13
Preprocessing on the full database
Workflow
Here optional reorientation is to test if it could improve the performance of the model
[2]“Frankfurt plane baidu baike”Accessed June 11, 2020. https://baike.baidu.com/
Normalization
Extract pixels from dicom files
Stretch gray value to [0,1]
Resize voxels to 1*1*1 mm3
Histogram Equalization
Reorientation
Cropping
Example

## Slide 14
Deep learning experiments
The following experiments were based on 35 subjects out of 200 subjects.
35 subjects are further divided as 32 for training set and 3 for test set.
6 out of 33 landmarks selected for evaluation.
No cross validation in following experiments.

## Slide 15
How to localize landmarks? With heatmaps!
We generated a Gaussian probability heatmap for each landmark with the voxel intensity stretched to the range of [0,1].
The intensity value of each voxel represents the probability that the voxel stands for the correct position of corresponding landmark.
Numerical coordinates

## Slide 16
Model
Original model is a 3D U-Net with 2 concatenations
we also implement multi-task learning using segmentation

## Slide 17
Model with shortcut connection
original block res block dense block
3D Res U-Net
Other than original model, we also propose 2 shortcut-based model.
3D Dense U-Net
3D U-Net

## Slide 18
Training setting
Server: Google Colab
Memory: 24 GB
CPU :Intel Xeon @ 2.2GHz。
GPU:NVIDIA Tesla P100 PCIe 16 GB

## Slide 19
3.Results & discussion

## Slide 20
Results
For original model, Anterior Nasal Spine (ANS) has the lowest value of 1.13 ± 0.25 mm and Infraorbital Foramen Right (IF right) has the highest value of 2.72 ± 1.43 mm.
The best model here is 3D Res U-Net with no segmentation and reorientation
Landmarks | 3D U-Net | 3D Res U-Net | 3D Dense U-Net
A | 2.35 ± 0.96 | 1.32 ± 0.49 | 1.79 ± 0.62
ANS | 1.13 ± 0.25 | 1.13 ± 0.33 | 1.26 ± 0.56
B | 1.67± 0.73 | 1.70 ± 0.66 | 3.43 ± 1.71
Gnathion | 1.72 ± 0.84 | 0.90 ± 0.18 | 1.81 ± 0.84
IF left | 1.74 ± 0.92 | 1.95 ± 0.84 | 1.95 ± 0.96
IF right | 2.72 ± 1.43 | 3.16 ± 1.56 | 2.23 ± 1.03
total | 1.88 ± 0.83 | 1.69 ± 0.74 | 2.07 ± 0.91
Landmarks | 3D U-Net | 3D Res U-Net | 3D Dense U-Net
A | 2.50 ± 1.04 | 2.18 ± 0.96 | 2.6 ± 1.06
ANS | 1.59 ± 0.81 | 1.86 ± 0.75 | 1.92 ± 0.43
B | 3.76± 1.85 | 4.18 ± 2.16 | 3.19 ± 1.54
Gnathion | 0.99 ± 0.43 | 1.64 ± 0.56 | 2.25 ± 0.86
IF left | 1.83 ± 0.66 | 1.82 ± 1.03 | 2.04 ± 0.79
IF right | 2.95 ± 1.37 | 3.28 ± 1.56 | 2.43 ± 0.99
total | 2.27 ± 0.96 | 2.49 ± 1.22 | 2.40 ± 0.98
Landmarks | 3D U-Net | 3D Res U-Net | 3D Dense U-Net
A | 2.45 ± 0.96 | 1.50 ± 0.69 | 1.72 ± 0.60
ANS | 1.23 ± 0.25 | 1.28 ± 0.33 | 1.20 ± 0.53
B | 1.75± 0.73 | 2.05 ± 0.71 | 3.33 ± 1.68
Gnathion | 1.80 ± 0.84 | 0.95 ± 0.23 | 1.75 ± 0.82
IF left | 1.82 ± 0.92 | 2.00 ± 1.04 | 1.85 ± 0.88
IF right | 2.82 ± 1.43 | 3.38 ± 1.56 | 2.21 ± 0.92
total | 1.97 ± 0.92 | 1.89 ± 0.84 | 2.01 ± 0.86
with segmentation
with
reorientation

## Slide 21
Results
For both segmentation mask, 3D Dense U-Net achieved the best performance, slightly better than 3D Res U-Net and 3D U-Net.
Bones | Metrics | 3D U-Net | 3D Res U-Net | 3D Dense U-Net
Mandible | Pixel Accuracy | 0.994 | 0.995 | 0.995
 | Dice coefficient | 0.903 | 0.903 | 0.903
Upper skull | Pixel Accuracy | 0.990 | 0.990 | 0.991
 | Dice coefficient | 0.899 | 0.900 | 0.901
By multi-task learning we also segment the skulls in the meantime
Segmentation performance for mandible was slightly better than upper skull.

## Slide 22
Conclusions
In preliminary results, guidance of segmentation and reorientation don’t help landmarks localization
Landmarking error with 1.67 ± 0.74 mm and segmentation performance with pixel accuracy of 99% still show the overwhelming power of deep learning based method
3D Res U-Net seems the most suitable model so far but it will still be checked afterwards.

## Slide 23
Computation facilities
Cluster : Bio-fractal
Memory: 128 GB
CPU :AMD Ryzen 9 3900X 12-Core Processor
GPU:NVIDIA RTX TITAN 24 GB*2

## Slide 24
Future work
Our test will be extended to the whole dataset.
Higher resolution of images could be used.
Hyperparameters optimization will be done with better facility.